## General Instructions
GREEN COMMUNITY ANNUAL REPORT
1) In order for a municipality to maintain its Green Community Designation and be eligible for the next available Green Communities funding opportunity, annual reports must be submitted no later than November 30, 2012 for the reporting period July 1, 2011 – June 30, 2012. Late reports will deem a community ineligible.
2) Please be certain to address all areas in full. If certain requested information does not apply, then please note it as “N/A."
3) Please follow the instruction for reporting on each Criteria on the individual Criterion Excel Sheets.
4) If you have any questions on these reporting requirements, please contact your DOER Green Communities Regional Coordinator (RC). The objective is to have a dialogue with Green Communities staff BEFORE the report is due so that minimal follow-up with the municipality is required after the due date.
5) Print, fill out completely, and submit a signed copy of this page of the completed annual report as a PDF via the online system.
6) Submit your community's full Excel file electronically as Excel via the online system with any other supporting files. This page must be signed, made into a PDF, and submitted as a separate file.
7) NOTE: In the case of any violations of the Criterion, e.g. a vehicle purchased that does not meet the fuel efficient vehicle policy, the municipality will be asked to provide a corrective action plan. A first time violation will be factored into consideration of awarding of funds under the next available Green Communities funding opportunity. A second violation will prohibit the municipality from being eligible for any funds in the next available Green Communities funding opportunity.
Date Designated: | 2010-12-01 | PLEASE NOTE: For a municipality designated December 2010, the reporting period is 18 months, Jan 1 2011 - June 30 2012
Date of Annual Report Submission | 2012-11-30
Name of Preparer of Annual Report | Brian Smith
Title | Chairman, Energy Advisory Committee
Municipality Name | Harvard
I confirm that I have reviewed this report and verify all information is true.
Signature of Chief Executive Officer |  | Unless another officer or body is designated to perform the functions of a Chief Executive Officer under the provisions of a local charter or laws having the force of a charter, Chief Executive Officer is defined as the manager in any city having a manager and in any town having a city form of government; the mayor in any other city; and the board of selectmen in any other town. The signature of a designee will be considered an attestation that a municipality has designated authority to the signatory.
Tim Bragan
Town Administrator

## Criterion 1 and 2
Criteria 1 and 2
Type of as-of-right siting approval received: |  |  |  | Generation; Solar
Type of expedited permitting approval received: |  |  |  | Local
REGULATIONS (zoning & permitting): 1) Have any significant changes been made to the zoning district(s) for which the community received Green Communities designation? Significant changes would impact the ability to construct a qualifying clean energy use in the district such as the geographic extent of the district, allowed uses, and dimensional requirements. Overlay districts such as water protection districts that impose special permitting requirements count as significant changes. If yes, attach a letter from municipal counsel that describes the changes, outlines any potential impact on the siting of clean energy projects, and affirms continued compliance with the Green Communities As-of-Right Zoning and Expedited Permitting criteria. Please Reply NO or YES. (Delete the appropriate word in the box to the right) If YES, attach letter from municipal counsel | [7 empty] | NO
2) Have any significant changes been made to site plan, design, or other development review criteria or any permit review procedures that would impact the ability to permit qualifying clean energy uses as-of-right and in a timely manner? Significant changes would be anything that pertains to the “by-right” nature of the zoning or to the amount of time necessary to review required permits. If yes, attach a letter from municipal counsel that describes the changes, illustrates any potential impact on the siting of clean energy projects, and affirms continued compliance with the Green Communities As-of-Right Zoning and Expedited Permitting criteria. Please Reply NO or YES. (Delete the appropriate word in the box to the right) If YES, attach letter from municipal counsel | [7 empty] | NO
3) Does sufficient space remain for “As-of-right” development of a qualifying renewable energy facility or at least 50,000 square feet of research and development or manufacturing space in the district(s) for which the community received Green Community designation? If not, explain what has happened since the community applied for and received Green Community designation and any plans the community may have to make such development feasible again. Please note, if 50,000 square feet of space does not remain, this will not jeopardize your designation, but we do want to know about it. Please Reply NO or YES. (Delete the appropriate word in the box to the right) If YES, attach letter from municipal counsel | [7 empty] | NA
Note: At the August 29, 2012 Town Meeting, the Town's Large Scale Ground Mounted Solar PV Facilities Overlay District was extended to add two properties behind 285 Ayer Road in the Commercial District to allow the Harvard Community Solar Garden to construct a 500kW Photovoltaic array.
PERMITTING:
Have any clean energy projects applied for approval under the zoning for which the community received Green Community Designation? | [7 empty] | YES
Please reply NO or YES. If YES, fill out Table 1 below:
Table 1 Expedited Permitting Projects (Please delete examples and add rows as required)
PROJECT NAME | Type | Applicant | Project Description | Permit(s) (use as many rows as required) | Status | Date Submitted | Decision Date | Other Pertinent Information
Solar Garden, 285 Ayer Road | Renewable Energy Solar Photovoltaic Generation | Harvard Solar Garden Project I, LLC | ~500 kW Solar PV Array, Community Shared Solar | Building, electrical | Approved | 2012-09-17 | 2012-10-01 | See notes below.
Notes
1. At the August 29, 2012 Town Meeting, the Town's Large Scale Ground Mounted Solar PV Facilities Overlay District was extended to add two properties behind 285 Ayer Road in the Commercial District to allow the Harvard Community Solar Garden to construct a 500kW Photovoltaic array.
2. The Community Solar Garden applied for a permit at a different location not part of the overlay district and then at this location prior to it being added to the overlay district.
These are the previous permit applications but not included above since they were not installations part of an approved overlay district. They do show that an answer was provided within approximately two weeks.
PROJECT NAME | Type | Applicant | Project Description | Permit(s) | Status | Date Submitted | Decision Date | Other Pertinent Information
Solar Garden, 285 Ayer Road | Renewable Energy - Solar Photovoltaic Generation | Harvard Solar Garden Project I, LLC | ~500 kW Solar PV Array, Community Shared Solar | Building, electrical | Denied | 2012-06-18 | 2012-06-28 | Non-accessory use not allowed in Commercial District
Solar Garden, Woodchuck Hill Road | Renewable Energy - Solar Photovoltaic Generation | Harvard Solar Garden Project I, LLC | ~250 kW Solar PV Array, Community Shared Solar | Building, electrical | Denied | 2012-02-27 | 2012-03-12 | Deemed commercial, not allowed in AR District. ZBA appeal in May/June upheld denial.

## Crit 3 - General Instructions
Criterion 3 - Energy Reduction Plan
BASELINE YEAR - FY2009
Some of the information requested has been simplified since the previous Annual Report. Please read through all of the instructions carefully before proceeding.
1. Provide the energy use for each year, including the baseline year, by fuel and by category (building, open space, vehicles, streetlights, water/sewer). Both MMBtu and native units (kWh, therms, gallons, etc.) should be included. Fuel use from all vehicles, including those characterized as exempt AND non-exempt under Criterion 4, must be included. PLEASE NOTE SPECIFIC INSTRUCTIONS FOR MassEnergyInsight USERS vs. NON-MassEnergyInsight USERS.
Renewable Energy is a fuel source and the amount of renewable energy generated by the Green Community should be included here. Please report the amount of renewable energy consumed by each building. For example, a solar PV system that supplies electricity only to the high school it is mounted on should be included under Renewable Energy - Electric for the high school. This includes renewable generation owned by a third party under a Power Purchase Agreement (PPA). For larger systems serving more than one building, please contact Aimee Powelka, (617) 626-7356. For thermal Renewable Energy systems that do not have a flow meter to measure the actual amount of thermal energy generated, please report the projected thermal energy generation from the design study. See examples in italics below. Biomass and biofuels should be reported separately from other Renewable Energy types by reporting fuel consumption.
For MassEnergyInsight users, ALL of this information is present in MassEnergyInsight. Please verify that the information is correct; for example, vehicle fuel use will need to be uploaded to be included. Similarly, oil, propane and renewable energy usage must be uploaded. Once you have verified that the information is correct, DOER will be able to directly retrieve the energy information from MassEnergyInsight.
To use MassEnergyInsight to fulfill your Green Communities Annual Report energy use reporting requirement, provide the date the information in MassEnergyInsight was last verified. By including a date below, you are confirming that the information in MassEnergyInsight is accurate and complete and that you wish to report your Green Community annual energy usage directly through MassEnergyInsight.
DATE:_____Data verified through August 31, 2012_________________
For Green Communities not using MassEnergyInsight, please see excel Worksheets “Crit 3 - Tbl 3 Non-MEI User Only”, and “Crit 3 - Tbl 3: Sample” for sample tables and instructions.
2. Provide the % reduction from baseline year to the current year by completing Table 2 in the excel document. Include a brief narrative below Table 2 that explains the energy use reduction seen.
3. Update your Energy Conservation Measures Table in the excel worksheet “Crit 3 - Table 4 ECMs”. This should be an update of your energy reduction plan with the current status of projects and their projected energy and cost savings, total cost and funding sources. See Instructions for Table 4 and a Sample Table 4 in worksheets “Crit 3 – Tbl 4 Instructions” and “Crit 3 – Tbl 4 Sample Data."
For Green Communities with an Energy Management Services Agreement:
For measures done through the performance contract, your annual reporting under 25A for Energy Management Services Agreements is sufficient to fulfill the reporting requirement for the Energy Conservation Measures Table. Other efficiency measures undertaken independently of the performance contract should be reported using Table 4. All other portions of the Green Communities Annual Report must be completed.
To use your Energy Management Services Agreement annual report to fulfill your Green Communities Annual Report Table 4 requirement, please provide the date your annual report was filed with DOER, or the date it will be filed if filing is anticipated in the next six months.
DATE:______________________
4. Optional (For b – e, please note any responses below):
a. Renewable energy – an opportunity to share a list of your municipal renewable energy projects. As a reminder, these projects cannot be included towards the 20% reduction, but DOER is interested in knowing about the municipality’s renewable projects, including their total capacity and annual generation. Please record these projects using the Renewable Energy Projects and Activities Table using the excel worksheet “Crit 3 - Table 5 RE."
b. Lessons learned – any lessons learned that may be of interest to other communities or in future energy efficiency efforts. RESPONSE: The MA DOER Green Community program has provided a tremendous incentive for town and cities to get control of their energy use and fund energy conservation measures that would otherwise not be funded. Here are a few lessons learned: 1. The recommended Energy Conservation Measures and cost estimates provided by professional energy company audits can be misleading and inaccurate. 2. Energy reduction is a long term process – variability from year to year due to changes in weather and building operation can result in wide fluctuations. 3. Building Envelopes are often ignored by Utility programs and Audits . 4. Utility Incentives can change impacting proposed budgets and Utility approvals can impact planned schedules. 5. The work involved with applying for grants, executing projects and providing documentation under the program should not be underestimated, especially for volunteers.
c. Personnel – an opportunity to thank the personnel that contributed to reducing your municipality’s energy use. RESPONSE: Committee Liaisons: Tim Clark- Board of Selectman, Patricia Wenger - School Committee, Keith Cheveralls - Capital Planning and Investment Committee, Dr. Town/Schools Staff: Tim Bragan (Town Administrator), Thomas Jefferson/ Joseph Connelly (Superintendent), Mark Force (Facilities Manager - Schools), Lorraine Leonard (Finance Director), Rich Nota (Director of Public Works), Ed Denmark (Police Chief), Rick Sicard (Fire Chief)
d. Long-term energy reduction goals beyond 5 years – now that you have achieved, or are near to achieving, a 20% reduction in energy use, do you intend to continue pursuing further efficiency? How? RESPONSE: Prior to being designated a Green Community we established an annual goal to reduce energy use. A the end of our five year period, the Energy Advisory Committee will recommend to the Town of Harvard an annual goal (approximately 3%). The energy reduction will be accomplished using the same practices used to date: identifying opportunities and obtaining funds from various sources to execute those projects.
e. Cost Savings – has your municipality saved money as a result of its Energy Reduction Plan? If yes, how much and how has your municipality’s used the financial savings from reduced energy costs? Has this information been shared within your community to build support for additional future efficiency projects? RESPONSE: Yes, per MassEnergyInsight, the total energy cost for the Town dropped from $583k in FY09 to $509k in FY12, a savings of $74k. The Schools, Town, and Capital Planning and Investment Committee are committed to invest in projects that realize energy savings. The significant savings in the schools has been communicated to the School Committee annually and communicated to the community via the media.

## Crit 3 -Table 2 En Use Timeline
Table 2 Timeline of Annual Municipal Energy Use
| Baseline MMBtu | Year 1 MMBtu | Year 2 MMBtu | Year 3 MMBtu | Year 4 MMBtu | Year 5 MMBtu | For Most Recent Year: Change vs. Baseline (%) | % Reduction FY12 vs. FY09 | ERP FY09 Data |  |  |  | Ref FY08
Year | FY2009 | FY2010 | FY2011 | FY2012 | FY2013 | FY2014
Buildings | 20521 | 16769 | 18088 | 15113 |  |  | 73.65% | -26.35% | 20594 |  |  |  | 22167
Water/Sewer & Pumping | 419 | 655 | 500 | 635 |  |  | 151.6% | 51.55% | 419 |  |  |  | 477
Open Space (optional) | 2 | 2 | 2 | 1 |  |  | 50% | -50% | 0 |  |  |  | 3
Vehicles | 3706 | 2676 | 3914 | 2596 |  |  | 70.05% | -29.95% | 3532 |  |  |  | 2797
Street and Traffic Lights | 91 | 91 | 89 | 89 |  |  | 97.8% | -2.198% | 93 |  |  |  | 90
TOTAL ENERGY CONSUMPTION | 24739 | 20193 | 22593 | 18434 |  |  | 74.51% | -25.49% | 24639 | -6305 |  | -0.4042% | 25534
Bromfield High School | FY2009: 9210; FY2012: 5941 |  | -35.49% | 9247 | -3269 | 51.85% | of reduction
For MassEnergyInsight Users: the easiest way to populate this table is to look at the ERP Guidance Table 3b (MMBTU) for each year. Enter the category totals and the grand total. Any null energy use should be assigned to the proper category or at least be consistent across the years.
Provide a brief narrative below explaining changes seen. Please note if baseline numbers have changed due to any adjustments made in MEI, and if so, what those adjustments were.
Sample Narrative: Our buildings have a 12% decrease in energy use and the vehicles have a 4% reduction. We have implemented projects in the Town Hall and would have expected larger savings, we are investigating this. We are also intending to implement a large retrofit at the drinking water treatment plant this year that should yield a significant level of savings.
NARRATIVE: The overall reduction in energy use from FY12 compared to the baseline year of FY09 is 25%. This is mainly attributed to the 26% reduction in building energy use. The focus of many energy reduction projects has been on the Bromfield High School because it is the largest energy user in the Town. These efforts resulted in a 35% reduction in energy use which makes up 52% of the overall Town energy reduction. Note that there is a small difference of 0.33% on the total energy use between what was reported in the Baseline Year in the Energy Reduction Plan and what is currently showing in Mass Energy Insight. The reason for the difference is not clear and is not considered significant.

## Crit 3 -Tbl 3 for Non-MEI Users
NOTE: IF USING MASSENERGYINSIGHT, there is NO need to complete this table. Affirm that the data in MassEnergyInsight is accurate and complete in Crit 3 - General Instructions.
Table 3 Annual Municipal Energy Use in Native Units and MMBtu - Plan Year _____ (NOTE: provide a separate table for each year of implementation of Energy Reduction Plan and note the year here, e.g. FY11 or CY11)
| Electricity |  | Natural Gas |  | #2 Distillate Fuel Oil |  | Propane |  | Gasoline |  | Diesel |  | Electric Renewable Energy |  | Thermal Renewable Energy |  | Total MMBtu
| kWh | MMBtu | Therms | MMBtu | Gallons | MMBtu | Gallons | MMBtu | Gallons | MMBtu | Gallons | MMBtu | kWh | MMBtu | Therms | MMBtu
School |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Town Hall |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Police Station |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
SUBTOTAL FOR BUILDINGS | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Drinking Water/Wastewater Treatment Plant |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Pumping in Aggregate |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Open Space* |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Vehicles in Aggregate |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
Street and Traffic Lights in Aggregate |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0
TOTAL ENERGY CONSUMPTION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Crit 3 - Tbl 4 Instructions
Criterion 3, Table 4: Individual Energy Conservation Measure Data
Please provide detailed data on individual energy conservation measures that have been completed or are planned using Table 4. As a reminder, renewable energy projects do not apply towards the 20% energy reduction commitment; a separate table, Table 5, is provided for you to report renewable energy projects.
List completed and planned energy conservation measures, including vehicular efficiency measures. For each measure, provide:
· its status
· the projected energy savings in native units (kWh, gallons, therms, etc.)
· the projected cost savings
· the total cost
· any Green Community grant funds and utility incentives received (please note which utility)
· for measures requiring additional funding, please list the funding source: capital budget, operating budget, debt and type, or other grants.
· the reference source for the projected energy savings.
Add additional columns for other fuel types as needed. Lighting and/or lighting sensors can be grouped for an individual building, but please list buildings separately. Please subtotal projected annual energy savings for each category: buildings, vehicles, street and traffic lights, water and sewer, and open space, as well as a municipal total.
Please note any added or deleted measures from the previous annual report or, from the Energy Reduction Plan if this is the first annual report, by bolding text. Sample data is provided in italics.
Why Does DOER Want This Level of Detail?
This information will be used by DOER to:
· Provide information to the legislature and general public on the total and average projected energy savings, projected energy cost savings, greenhouse gas reductions, total capital costs, simple payback time, and financial support from the electric and gas utilities for the Green Communities program as a whole.
· Confirm that energy use reduction is from energy efficiency projects and initiatives. Because reporting of a building’s total energy usage reflects both efficiency and renewable energy projects, a municipality needs to demonstrate that it has implemented enough energy efficiency to account for 20% of the total energy reduction in year 5.
· Analyze the relative effectiveness of project measures (i.e., heating upgrades, VFDs on pump stations, LED streetlights, use of biodiesel) to provide informed recommendations to municipalities that inquire about how to pursue energy efficiency.

## Crit 3 - Tbl 4 ECMs SAMPLE Data
Table 4 SAMPLE Energy Conservation Measures Data
Measure |  | Status | Energy Data |  |  |  | Financial Data |  |  |  |  | Reference Data
Category/Building | Energy Conservation Measure | Status (Completed with month/year or planned Qtr/year) | Projected Annual Electricity Savings (kWh) | Projected Annual Oil Savings (gallons) | Projected Annual Gasoline Savings (gallons) | Insert additional columns for additional fuels as needed | Projected Annual Cost Savings ($) | Total Installed Cost ($) | Green Community Grant ($) | Utility Incentives ($) | Net Cost ($) | Funding Source(s) for Net Costs | Source for Projected Savings
Elementary School | Lighting Retrofit | Completed 2/2011 | 95252 | 0 | 0 |  | 8000 | 25000 | 0 | 12500 | 12500 | Town Capital Plan FY2011 | http://www.energystar.gov/ia/business/downloads/BP_Checklist.pdf
Town Hall | Air Sealing | In progress | 0 | 230 | 0 |  | 1100 | 3500 | 1750 | 1750 | 0 | N/A | A-Z Energy Audit, 2008
Town Hall | New Boiler | Planned Q1-Q2 2012 | 0 | 17122 | 0 |  | 5000 | 50000 | 35000 | 15000 | 0 | N/A | Boilers-to-Go Quote, 2009
BUILDINGS SUBTOTAL |  |  | 95252 | 17352 | 0 | 0 | 14100 | 78500 | 36750 | 29250 | 12500
Traffic Lights | LED Traffic lights | In progress | 6000 | 0 | 0 |  | 2500 | 5000 | 0 | 2500 | 2500 | Town Operating Budget FY2011 | LED Signals Today Quote, 2009
STREET AND TRAFFIC LIGHTS SUBTOTAL |  |  | 6000 | 0 | 0 | 0 | 2500 | 5000 | 0 | 2500 | 2500
Drinking Water Treatment Plant | 2 Variable Speed Drives | Planned Q3-Q4 2012 | 500000 | 0 | 0 |  | 40000 | 200000 | 0 | 100000 | 100000 | Town Bond FY2012 | Energy Masters Technical Study, 2010
WATER/SEWER/PUMPING SUBTOTAL |  |  | 500000 | 0 | 0 | 0 | 40000 | 200000 | 0 | 100000 | 100000
Vehicles | Anti-idling retrofit for 2 police cruisers | In progress | 0 | 0 | 400 |  | 4500 | 6000 | 0 | 0 | 6000 | Town Operating Budget FY2012 | green.autoblog.com
Vehicles | Purchase of 2010 Hybrid Civic Hybrid to replace 2001 Toyota Camry (incremental cost) | Planned fall 2011 | 0 | 0 | 260 |  | 900 | 6000 | 2000 | 0 | 4000 | Town Capital Plan FY2011 | www.fueleconomy.gov
VEHICLES SUBTOTAL |  |  | 0 | 0 | 660 | 0 | 5400 | 12000 | 2000 | 0 | 10000
TOTAL Projected Savings |  |  | 601252 | 17352 | 660 | 0 | 62000 | 295500 | 38750 | 131750 | 125000
TOTAL MMBtu SAVINGS |  | 4545.2398 | 2051.4718 | 2411.928 | 81.84

## Crit 3 - Table 4 ECMs
Table 4 Energy Conservation Measures Data
Measure |  | Status | Energy Data | [5 empty] | Financial Data |  |  |  |  | Reference Data
Category/Building | Energy Conservation Measure | Status (Completed with month/year or planned Qtr/year) | Projected Annual Electricity Savings (kWh) | Projected Annual Natural Gas Savings (therms) | Projected Annual Oil Savings (gallons) | Projected Annual Propane Savings (gallons) | Projected Annual Gasoline Savings (gallons) | Projected Annual Diesel Savings (gallons) | Projected Annual Cost Savings ($) | Total Installed Cost ($) | Green Community Grant ($) | Utility Incentives ($) | Net Cost ($) | Funding Source(s) for Net Costs | Source for Projected Savings
Bromfield High School | Lighting Efficiency Upgrade | Completed Aug 2009 | 135974 | [5 empty] | 46266 | 114495 | 0 | 68229 | 46266 | Town | Lighting Contractor Audit
Bromfield High School | Mechanical Upgrades - Boiler HW VSDs, Pneumatic Controls Conversion | Completed Dec 2010 | 54292 |  | 2248 |  |  |  | 13558 | 45466 | 0 | 17400 | 28066 | Town | (Ngrid WBA) B2Q Audit Nov-08
Bromfield High School | Mechanical Upgrades - DCV, BAS Upgrade, Retrocommissioning, RTU Fan VSDs | Completed Dec 2010 | 124822 | 1009 | 10998 |  |  |  | 48033 | 140223 | 0 | 42212 | 98011 | Town | (Ngrid WBA) B2Q Audit Nov-08
Hildreth Elementary School | (ECM1) DCV, Building Automation System & Retrocommissioning | In Progress Dec 2012 | 6379 | 8434 |  |  |  |  | 11435 | 99811 | 91261 | 8550 | 0 |  | (Ngrid WBA) B2Q Audit Nov-08
Hildreth Elementary School | Lighting Efficiency Upgrade | Completed Dec 2009 | 51018 | [5 empty] | 5673.22 | 32687 | 0 | 22881 | 9806 | Town | Lighting Contractor Audit
Hildreth Elementary School | Replace two burners and one boiler; conversion to gas. | Completed Dec 2009 | 295048.3446 | [5 empty] | 10000 | 30000 | 0 | 0 | 30000 | Town | Based on Heating Contractor Estimate
Hildreth Elementary School | Boiler HW VSDs and Digital Controls | Completed Dec 2010 | 35626 | [5 empty] | 4988 | 53199 | 0 | 18300 | 34899 | Town | (Ngrid WBA) B2Q Audit Nov-08
DPW, Town Hall, Old Library, Police, Bromfield House | Lighting Efficiency Upgrade | Completed Oct 2010 | 38967 | [5 empty] | 4318 | 22510 | 0 | 15757 | 6753 | Town | Lighting Contractor Audit 2010
Public Library | Recommission EMS | Planned Q4 2013 | 4654 | 2284 |  |  |  |  | 5209 | 15000 | 0 | 0 | 0 |  | DOER EED Audit Report 2009
Police Station | (ECM4a) HVAC/BAS upgrade | Planned Q3 2013 | 40471 | 2802 |  |  |  |  | 11490 | 27000 | 27000 | 0 | 0 |  | DOER EED Audit Report 2009
Police Station | Boilers Replacement | Planned Q1 2013 |  | 750 |  |  |  |  | 1300 | 22000 | 20000 | 2000 | 0 |  | Based on Leominster Plumbing and Heating Quote
Fire Station | (ECM5) Boiler Replacement | Completed Jan 2012 |  | 1427 |  |  |  |  | 2828 | 11959 | 10459 | 1500 | 0 |  | DOER EED Audit Report 2009
Fire Station | Insulation | Planned Q2 2013 |  | 745 |  |  |  |  | 1476 | 3190 | 3190 | 0 | 0 |  | DOER EED Audit Report 2009
Fire Station and Hildreth House | Lighting Efficiency Upgrade | Completed Jan 2012 | 14372 | [5 empty] | 1598 | 3706.42 | 0 | 2761.28 | 945.14 | Town | Lighting Contractor Audit 2011
Town Hall | HVAC System Replacement/ Insulation
Old Library | HVAC System Replacement/ Insulation
Hildreth House | HVAC System Replacement/ Insulation
Town Hall & Fire Station | Insulation
Town Hall & Fire Station | Heating Controls - TH Heat Zones; FS Door Timer & Thermostats
Police Station | Weatherization; Air Sealing and Insulation | Planned Q3 2013 |  | 600 |  |  |  |  | 1112 | 5000 | 5000 | 0 | 0 |  | Rough Estimate based on 20% savings of FY12 usage and costs, 5 year payback
Highway Dept Buildings | Weatherization; Air Sealing and Insulation | Planned Q3 2013 |  |  | 184.2 |  |  |  | 600 | 3000 | 3000 | 0 | 0 |  | Rough Estimate based on 20% savings of FY12 usage and costs, 5 year payback
New Library | Weatherization; Air Sealing and Insulation | Planned Q3 2013 |  | 1800 |  |  |  |  | 1000 | 5000 | 5000 | 0 | 0 |  | Rough Estimate based on 20% savings of FY12 usage and costs, 5 year payback
Still River Fire Station | Weatherization; Air Sealing and Insulation | Planned Q3 2013 |  |  | 188.4 |  |  |  | 600 | 3000 | 3000 | 0 | 0 |  | Rough Estimate based on 20% savings of FY12 usage and costs, 5 year payback
Bromfield House | Weatherization; Air Sealing and Insulation | Planned Q3 2013 |  | 21.4 | 237 |  |  |  | 860.6 | 5000 | 5000 | 0 | 0 |  | Rough Estimate based on 20% savings of FY12 usage and costs, 5 year payback
BUILDINGS SUBTOTAL |  |  | 801623.3446 | 19872.4 | 13855.6 | 0 | 0 | 0 | 165098.22 | 614350 | 148720 | 196829 | 253801
NA
STREET AND TRAFFIC LIGHTS SUBTOTAL |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NA
WATER/SEWER/PUMPING SUBTOTAL |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NA
VEHICLES SUBTOTAL |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL Projected Savings |  |  | 801623.3446 | 19872.4 | 13855.6 | 0 | 0 | 0 | 165098.22 | 614350 | 148720 | 196829 | 253801
TOTAL MMBtu SAVINGS |  | 6648.3073 | 2735.1389 | 1987.24 | 1925.9284 | 0 | 0 | 0
Note - The projects listed are those that are planned to be executed through the end of the five year plan FY14 to contribute to the 20% reduction goal.

## Crit 3 - Table 5 RE
Table 5 Renewable Energy Projects and Activities Data
Measure |  | Status | Energy Data |  |  |  |  | Financial Data |  |  |  |  | Reference Data
Location | Renewable Energy Project | Status (Completed with month/year or planned Qtr/year) | Size of System (kW or MMBtu) | Projected Annual Electricity Generation (kWh) | Thermal Fuel(s) Displaced | Projected Annual Thermal Fuel Savings | Projected Annual Gasoline Thermal Fuel Units | Projected Annual Cost Savings ($) | Total Installed Cost ($) | Green Community Grant ($) | Other Grant ($) | Net Cost ($) | Funding Source(s) for Net Costs | Source for Projected Savings
Harvard Elementary System | Solar Photovoltaic Roof Mounted system | Completed Dec 2012. | 4.3 kW | 4945 | NA | NA | NA | 741.75 | 40707 | NA | Commonwealth Solar II MTC $5000 Clean Energy Center $35707 | 0 | Actual | kWhr @ current electric rate of $0.15/kWhr
=4.3 * 1150 kwHr/kWyr
TOTAL Projected Savings |  |  |  | 4945 | 0 | 0 | 0 | 741.75 | 40707 | 0 | 0 | 0
TOTAL RENEWABLE ENERGY PRODUCTION (MMBtu) |  | 16.8723 |  | 16.8723

## Crit 4 - Table 6 Vehicle Inv
Criteria 4 - Purchase Fuel Efficient Vehicles
1) Municipalities must have a fuel efficient vehicle policy that reflects the most recent guidance provided by the Green Communities Division (see http://www.mass.gov/eea/energy-utilities-clean-tech/green-communities/gc-grant-program/criterion-4.html for most recent guidance)
NO per designation filing OR per FY11 Annual Report
Does currently adopted fuel efficient vehicle policy reflect the most recent Guidance? (Please note, this question will be pre-answered based on your application or subsequent annual report filing(s))
NO per designation filing. See attached letters of compliance to the most recent Guidance from the Superintendent and the Town Administrator.
If answer is NO, provide documentation of a policy that reflects the most recent Guidance. This must be provided as either 1) a newly adopted policy by the Chief Executive Officer and the Superintendent of Schools OR 2) if original adopted policy noted that the policy would be updated from time to time, then a letter from the Town Manager/Town Administrator/Mayor and the Superintendent noting that the policy has been updated to reflect the most current Green Communities Guidance with the updated policy attached. NOTE: If part of a regional school district and regional schools are not part of the designation, then evidence of adoption by schools is not required.
2) Please provide the most current vehicle inventory that includes ALL vehicles (Both exempt and non-exempt) for ALL departments, including schools. In the inventory, please bold or highlight any newly acquired vehicles since a) designation, or b) last annual report. - SEE ATTACHED SHEET included in this file.
See Table Below for Minimum information required in vehicle inventory
Table 6 Vehicle Inventory
Model | Make | Model Year | Month/Year Purchased | Drive System: 2WD, 4 WD, or AWD | > 8500 pounds? (Y or N) | Exempt or Non-Exempt? E or NE | MPG Rating | Vehicle Function
Honda | Civic Hybrid | 2009 | Feb, 2011 | 2WD | N | NE | 43 | Inspector/Assessor shared car
3) Attach any new vehicle policies and technologies adopted by the municipality, e.g. electric vehicle charging stations, anti-idling technology and/or campaigns, driving monitoring system recording miles driven and/or fuel consumption, fuel use reporting systems for operators on fuel efficiency. Please estimate annual fuel savings from each new technology or policy. - NONE
4) For communities that met Criterion 4 through alternative compliance, provide a narrative in the space below of the policies and programs that have been adopted to reduce fuel consumption as well as a status regarding the success of these programs and policies. - NA

## Table 6 Harvard
Dept | Vehicle Function | GVWR > 8500 pounds? (Y or N) | E Exempt NE Non-Exempt | License Plate or VIN | Year / Make | Model / Type | Service Date | Drive System 2WD, 4WD, AWD | Required EPA Combined MPG | EPA City/Hwy/Combined MPG | Mileage (as of Date) | Annual Miles Driven | Replacement Schedule Interval | Planned Replacement Year
Non-Exempt Vehicles
DPW |  | N | NE | M67661 | 2000 Chevrolet | GMT400 Pickup | 2000 | 4WD | 18 | 13/16/15 | 112881 (Sep 2010) | 5k | 15 years | FY15
Schools | Chef Paul | N | NE | MF7582 1GNEK13V61J264355 | 2001 Chevrolet | Tahoe K1500 | 2001 | 4WD | 18 | 13/16/15 | 123162 (Sep 2010) | 1k | 14 years | FY14
Fire | Administrative | N | NE | MF9791 1FMEU73E09UA15335 | 2009 Ford | Explorer 6 cyl | 2008 | 4WD | 18 | 13/19/16 | 53,147 (Dec 2012) | 20k | 8 years | FY16
Exempt Vehicles - The Police Cruisers below are considered Exempt but will become Non-Exempt if a high efficiency option becomes available.
Police | Police Cruiser | N | E | 73313 1FAHP27W28G1185603 | 2008 Ford | Taurus | 2008-10-01 | AWD | NA | 18/28 | 69113 (Dec 2012) | 25k | 4 years | FY14
| Patrol Car 1 | 3643 lbs
Police | Police Cruiser | N | E | MP66 2FABP7BV5BX180673 | 2012 Ford | Crown Victoria | 2012-06-12 | 2WD | NA | 16/24 | 4300 (Dec 2012) | 25k | 4 years | FY18
| Patrol Car 2 | 4129 lbs |  |  |  | Flex Fuel
Police | Police Cruiser | N | E | MP67 1FMJU1G55AE60438 | 2010 Ford | Expedition | 2010-08-01 | 4WD | NA | 16/20 | 46671 (Dec 2012) | 25K | 4 years | FY16
| Patrol Car 3 | 7239 lbs |  |  |  | Flex Fuel
Police | Police Cruiser | N | E | MP15 2B3CL1CT7BH587510 | 2011 Dodge | Charger | 2011-09-01 | 2WD | NA | 16/25 | 21078 (Dec. 2012) | 25k | 4 years | FY17
| Patrol Car 4 | 4253 lbs
Police | Police Cruiser | N | E | MP441D 1FMEU7DEXAUA28127 | 2010 Ford | Explorer | 2010-01-01 | 4WD | NA | 14/20 | 34989 (Dec 2012) | 25K | 4 years | FY15
| Patrol Car 5 | 5995 lbs
Schools | Pickup | Y 10400 lbs | E | M85010 1FTRF3B64BEB15196 | 2011 Ford | F-350 SRWSUP | 2010-11-01 | 4WD | NA | NA | 3161 (Nov 2012) | 4k | > 10 years | Not Planned
Fire | Antique | Y | E | MF5121 61455 | 1930 SEAGRAVES | Suburbanite |  |  | NA | NA | 3,201 (Dec '12) |  |  | Not Planned
Fire | Reserve Engine 1 | Y | E | MF1691 B85F1501 | 1965 MACK | Pumper | 1965 |  | NA | NA | 43,917 (Dec '12) |  |  | Not Planned
Fire | Tanker | Y | E | MF6399 1M2P198C4KW003834 | 1989 MACK | RD690S Tanker | 1989 |  | NA | NA | 13,356 (Dec '12) |  |  | FY16
Fire | Engine 2 | Y | E | MF7568 4P1CT02M6XA000939 | 1999 PIERCE | Pumper | 1999 |  | NA | NA | 19,597 (Dec '12) |  |  | FY19
Fire | Engine 3 | Y | E | MF8611 1HTSEADR22H532902 | 2002 International | KME Fire Truck | 2002 |  | NA | NA | 9,036 (Dec '12) |  |  | FY17
Fire | Engine 1 | Y | E | MF3349 1F9EA28TX5CST2028 | 2005 SEAGRAVE | Truck-AB40KF | 2005 |  | NA | NA | 11,569 (Dec '12) |  |  | FY20
Fire | Forestry | Y | E | MF6396 1FDUF5HT9BEA26982 | 2011 FORD | F-550 SD | 2011-10-01 |  | NA | NA | 1,840 (Dec '12) |  |  | FY26
Fire | Engine 4 | Y | E | MFA591 1K9AF4286CN058397 | 2012 KME | Pumper | 2012-06-12 |  | NA | NA | 869 (Dec '12) |  |  | FY27
Schools | D-3 | Y 37060 | E | M60708 1M2P288C3XM028136 | 1999 Mack | DUMP W/ SANDER AND PLOW | 1998-12-01 | 4WD | NA | NA | Odometer broken | 1K | 18 | FY15
DPW | D-1 | Y 37060 | E | M67677 1M2P263C23M034354 | 2003 Mack | DUMP W/ SANDER AND PLOW | 2002-11-01 |  | NA | NA |  |  | 18
DPW | D-2 | Y 37060 | E | M66839 1M2P288C82M034099 | 2002 Mack | DUMP W/ SANDER AND PLOW | 2002-01-02 |  | NA | NA |  |  | 18
DPW | D-4 | Y 37060 | E | M57377 1FDYN90T6WVA35510 | 1998 Ford | DUMP W/ PLOW | 1998-01-01 |  | NA | NA |  |  | 15
DPW | D-5 | Y 37060 | E | M44263 1M2P288C9TM019953 | 1996 Mack | DUMP W/ SANDER AND PLOW | 1995-08-01 |  | NA | NA |  |  | 18
DPW | D-6 | Y 45120 | E | M85129 1HTGPSHR7CJ451565 | 2012 International | DUMP W/SANDER AND PLOW | 2011-07-11 |  | NA | NA |  |  | 18
DPW | CB-1 | Y 29800 | E | M40610 1HTSDZZNSLH690434 | 1990 International | CB CLEANER / PLOW | 1989-06-01 |  | NA | NA |  |  | 20
DPW | T-1 | Y 10000 | E | M82676 1FTWF3B59AEB36070 | 2010 Ford | Md. F-350 PICK-UP (4x4) W/PLOW | 2010-06-10 | 4WD | NA | NA |  |  | 8
DPW | T-2 | Y 9200 | E | M74596 1GCHK24264E358037 | 2004 Chevrolet | Md. 2500 HD - PICK-UP (4x4) W/ PLOW | 2005-02-05 | 4WD | NA | NA |  |  | 8
DPW |  | Y 12000 | E | M67344 1GBJK34UX3E345271 | 2003 Chevrolet | Md. 3500 - 1-TON DUMP (4x4) W/ PLOW | 2003-09-03 | 4WD | NA | NA |  |  | 10
DPW | T-3 | Y 17950 | E | M84094 1FDUF5HT9CEB43463 | 2012 Ford | Md. F-550 - 1-TON DUMP (4x4) W/PLOW | 2012-07-01 | 4WD | NA | NA |  |  | 10
DPW | T-4 | Y 17950 | E | M77575 1FDAF57Y78ED32796 | 2008 Ford | Md. F-550 - 1-TON DUMP (4x4) W/ PLOW & SANDER | 2008-05-08 | 4WD | NA | NA |  |  | 10
DPW | T-5 | Y 17950 | E | M85021 1FDUF5HYXBEB41974 | 2011 Ford | Md. F-550 - 1-TON DUMP (4x4) W/ PLOW | 2011-01-11 | 4WD | NA | NA |  |  | 10
DPW | T-6 | Y 17950 | E | M79340 1FDAF57Y36ED70104 | 2006 Ford | Md. F-550 - 1-TON DUMP (4x4) W/ PLOW | 2007-03-07 | 4WD | NA | NA |  |  | 10
DPW | VAN | Y 9500 | E | M81044 1FTSE34L68DA14425 | 2008 Ford | Md. E350 CARGO VAN | 2007-12-07 |  | NA | NA |  |  | 8
DPW | L-1 | Y 24000 | E | M65647 9SW01035 | 2000 Caterpillar | Md. 924G - FRONT END LOADER | 2000-10-01 |  | NA | NA |  |  | 15
DPW | EXC-1 | Y 11000 | E | FF050DX270655 | 2009 Deere | Md. 50 D - MINI-EXCAVATOR | 2009-06-09 |  | NA | NA |  |  | 15
DPW | BH-1 | Y 24700 | E | M3913 T0710DD822871 | 1996 Deere | Md. 710 D - LOADER/BACKHOE | 1996-07-01 |  | NA | NA |  |  | 15
DPW | S-1 | Y 15500 | E | M60703 S8723S | 1999 Elgin | Md. PELICAN SE - STREET SWEEPER | 1999-04-01 |  | NA | NA |  |  | 12
DPW | G-1 |  | E | M3918 JD670AG011027 | 1981 Deere | MOTOR GRADER | 1997 |  | NA | NA |  |  | 15

## Crit 5 - Table 7
Criterion 5 - Stretch Code Adoption
Date Stretch Code Concurrency Period Began: July 1, 2011
Date Stretch Code Became Sole Effective Code: Jan 1, 2012
Please list in Table below all residential and commercial projects that were affected by the Stretch Code and for which building permits have been issued since the Stretch Code became the sole effective code through 6/30/2012 along with accompanying information noted below. For those Green Communities who submitted this table for previous annual reports, you do not need to include projects that had Certificates of Occupancies previously reported. (Non-applicable stretch code projects such as small renovations, decks, etc., do not need to be listed.)
Table 7 Stretch Code Projects - July 1, 2011 - Jun 30, 2012 (Add more rows as necessary)
Address of Building | New Residential (NR), Residential Retrofit (RR) or Commercial (C) | Date Building Permit Issued | Dated Certificate of Occupancy Issued (if not issued, please note NA) | Notes on Cert of Occupancy: If New Residential, provide final HERS Rating
Ann Lees Rd (037) Lot 30 | NR | 2012-11-26 | NA
Whitney Rd (075) Lot 2 | NR | 2012-09-24 | NA
Westcott Rd (064) | NR | 2012-11-19 | NA
Cove Rd (024) | NR | 2012-09-24 | NA
S. Shaker Rd (010) | NR | 2012-08-13 | NA
Mass Ave (086) Lot 2b | NR | 2012-03-26 | NA
Tahanto Trail (019) | NR | 2012-03-26 | NA
Mill Rd (031) Lot 2 | NR | 2012-03-26 | NA

## Other Notes
Other Notes
Big Belly Trash Compactor – What is the impact on trash collection. What are the benefits and/or issues?
The Big Belly Compactor is installed at the Bromfield School. The trash collection for that can prior to the installation of the Big Belly Solar Trash Compactor has changed from daily to twice a week.
Please provide in the space below any anecdotal information about your community's experience with the Stretch Code (e.g. local banks loaning more to people purchasing stretch code homes, satisfied homeowners, frustrated builders, etc.)
None received.
Please provide in the space below any information about additional measures taken by the community that are consistent with its status as a designated Green Community,(e.g. additional as-of-right siting put in place since designation for renewable or alternative energy generation, R&D, or Manufacturing facilities)
Sunshot Solar
In December 2011, Harvard was one of five communities in Massachusetts to receive a DOE grant to advance solar energy adoption. The grant will enable the five communities to pilot new programs to increase the adoption of rooftop solar installations by streamlining permitting, providing better information on interconnection practices, and developing alternative financing options. The goal of the program is to develop a model permitting process that can be adopted throughout Massachusetts and beyond, structural guidelines for building inspectors on the impact of solar photovoltaic (PV) on residential roofs, and user-friendly information on interconnection standards." In Harvard the program also included goals for piloting shared solar installation and the development of a model bylaw which would clarify access to solar for residents. Unfortunately, work on the solar bylaw was suspended after several drafts, so the grant was not able to be applied to this activity, however the grant has funded two main areas of activity: (1) the town hired a consultant to review the flows of information involved in the permitting process and how the town web site was used, and then develop a plan for improving the process as well as the web site capability (i.e. online permitting). Work to upgrade the town web site is a separate project which may be partially funded by the grant as well. (2) The Harvard Solar Garden has developed several documents of value as models to other communities, including financial model, model lease for shared solar on a commercial property, and educational materials for financing.
Harvard Community Solar Garden
The Harvard Solar Garden was created for residents and businesses unable to participate in Solarize. Half of those that requested site evaluations during the Solarize program were unable to participate due to site or structural limitations. The LLC was created as a private entity led by Worth Robbins involving investors and participants from the Town of Harvard to build one system and pool their shares, virtually net metered to each participant's residence or small business. The Harvard Solar Garden is supported by the Massachusetts Clean Energy Center which provides the same grants as they provided for on-site residential and small business systems. Siting at the first site identified was denied, on the basis of being commercial in an Agricultural/Residential zoning district. The PV Solar Overlay district, created in 2010 when Harvard voted to become a Green Community, was evaluated, but the space available suitable for siting an array was found to be too small to accommodate Harvard Solar Garden. The Board of Selectmen and the Planning Board acted quickly to convene a special town meeting in August, and the vote to add suitable parcels to the overlay district was nearly unanimous. Harvard Solar Garden is now moving forward to construct one 294 kW project, with a second project just under 250 kW to follow. The proven capacity of the expanded Ground-Mounted Solar Photovoltaic Facilities Overlay District is now more than 500 kW. Note that although the permit was approved, but fee of nearly $20,000 is deemed excessive. Harvard Solar Garden is working with town to bring this fee in line with the Solar Panels permit category charged to individuals during Solarize Mass.
Solarize
MassCEC conducted Solarize Massachusetts in Harvard to encourage residents and businesses to join forces to go solar as a community. Solarize was a Spectacular Success! Harvard proved the model. By joining forces with New England Breeze Solar and Massachusetts CEC, we reduced the cost of an average solar PV system by more than 25%. During the program 75 households purchased solar photovoltaic systems with total capacity of 403 kilowatts. Each year, these systems will reduce Harvard's carbon footprint by ~580,000 pounds.

## Lists
blank | blank | blank | blank
2010-05-01 | R&D | 43D | Yes per designation ap
2010-12-01 | MFR | Local | Yes per AR 2011
2011-07-01 | R&D and MFR |  | No per designation app
R&D & MFR & Solar
Generation; Solar
Generation; Wind
Generation; Solar & Wind